## Slide 1
  Course: Information Security Management in e-Governance
Day 4
Session 1: Disaster Recovery Planning

## Slide 2: Agenda
  Introduction to Disaster Recovery Planning (DRP)
  Need for disaster recovery planning
  Approach for Disaster Recovery Planning
  Key elements in a DRP

## Slide 3: Current scenario - Dependence on IT
IT is becoming the key enabler for many government and public sector organizations in achieving the business objectives
Many organizations are moving towards mandatory electronic transactions eliminating the manual working methods completely
      E.g. Ministry of Corporate Affairs (MCA21 Project)
      E-Procurement initiatives in Andhra Pradesh, Karnataka, DGS & D etc.
      Passport issuance…
More and more information is stored electronically
NeGP is driving IT incubation in all key government sectors/ departments…

## Slide 4: Defining a Disaster
As per Principle of Availability of Resources:
  Businesses are run based on the assumption that the current level of resources will not decline.
  Availability addresses the requirement that access to information and resources is available on a timely basis wherever needed to meet business requirements.
  All organizations face the risk that disasters may compromise the availability of resources.
A disaster is defined as any event, which causes unacceptable level of interruption to access for business information, transactions, business operations for an unacceptable period of time. Whenever a disaster strikes, it impacts one or more of the resources, which an organization is employing.
Slide 4

## Slide 5: Defining a Disaster (contd..)
A disaster may impact in various ways that could affect the organisation’s ability to carry on operations. For example, it may:
  not be able to operate from the affected site
  lose critical resources (systems, documents, data)
  lose ability to interact with citizens, businesses, employees, other government agencies..
  not be able to service citizens etc.
Slide 5

## Slide 6: Defining a Disaster (contd..)
Few examples of ‘disasters’ in IT Environment
    Organization website is hacked and is inaccessible to people who wish to visit it for a time frame that has an adverse impact on a business
    Application server hosting critical business application is not reachable for a week
    Server room gets flooded with rain water and cables are immersed in water causing short circuit and breakdown of services
    Breakdown of the cooling / UPS units causing high disruption in day to day activities
Slide 6

## Slide 7: The Cost/Impact of Disaster..
REVENUE
Direct Loss
Deferred Losses
Compensatory Payments
Lost Future Revenue
Billing Losses
Investment Losses
FINANCIAL PERFORMANCE
Revenue Recognition
Cash Flow
Payment Guarantees
OTHER EXPENSES
Temporary employees,
Equipment Rental,
Overtime,
Etc.
REPUTATION
Customers
Suppliers
Business Partners
Etc.
PRODUCTIVITY
Loss Of Productivity
Employees Impacted
LEGAL/REGULATORY
Contractual Requirements
SLAs
Regulatory Requirements
Slide 7

## Slide 8: Disaster Recovery Planning
A Disaster Recovery Plan (DRP) is a set of procedures designed to restore information systems
Disaster recovery (DR) planning is concerned with preparation for and response when disaster hits.
DR Planning is:
    Knowing potential risks to information systems
    Planning ahead to avoid risks
    Being prepared in the event a problem occurs
    Taking the necessary steps to proactively prepare for potential problems
    Identifying how to respond when a problem occurs…
Slide 8

## Slide 9: Objectives of Disaster Recovery Plan (DRP)
Minimize the damage caused to IT enablers and recover them to continue business operations in occurrence of a DRP event.
Provide a plan of action to facilitate an orderly recovery of critical IT enablers
Identify key individuals and define their roles and responsibilities, in process of recovering after DRP event
Catalog probable resources and vendors that could assist in the recovery process.
Establish general procedures for release of information to employees, customers and stakeholders.
Slide 9

## Slide 10: Examples of Events without and with a DR Plan
Without a DR plan
With a DR plan
Recovery from backup server
Or disc based backup media
Several days of rebuild data from backup media
Server Crash & data corruption
Hurricane etc
Several days’ outage
With a DR plan
Transfer to servers in alternate processing center
Without a DR plan
Slide 10

## Slide 11: Examples of Events without and with a DR Plan
Without a DR plan
With a DR plan
Little to no outage because of preventive measures and backup power
Damaged servers, outage of more than a week
Earthquake
Early suppression of fire,
resulting in minimal damage
and downtime
Without a DR plan
With a DR plan
Fire
Servers damaged from smoke or extinguishment materials several days to rebuild data from backup media
Slide 11

## Slide 12: Dangerous Excuses for not implementing a Disaster Recovery Plan
It costs too much money to implement
Not enough time or resources.
It will never happen to our company.
Why bother? We have good data backups.
We “plan” on implementing one next year !!!
Slide 12

## Slide 13
Approach for Development of DRP
Step 1: Risk Assessment: Identification of potential risks in the current IT environment
Step 2: Business Impact Analysis: Analyze the impact of identified risks to the business
Step 3: Strategy Selection: Identification of possible solutions for risk mitigation and selection of appropriate solution based on business needs
Step 4: Plan Development: Documentation of scenarios, solutions, roles and responsibilities for Disaster Recovery
Step 5: Testing and Maintenance: Testing the validity of the plan and keeping the plan updated inline with the changes in IT environment
Slide 13

## Slide 14: DRP Approach: Step 1 – Risk Assessment
Risk Assessment consists:
  Health check of existing DR plans (if any)
  Threat/Risk Analysis for IT environment
  Review of existing mitigation programs/measures
Slide 14

## Slide 15: DRP Approach: Step 1 – Risk Assessment
Risks in IT environment exists surrounding (illustrative):
  Application Software
  Business Data
  IT Infrastructure – Networks , Computing and Storage infrastructure etc.
  Facilities like Data Centre
  End user environment…
Slide 15

## Slide 16: Illustrative Risks surrounding Application Software/Business applications
Application server crash leading to loss of application software
Loss of source code/files
Loss of application design documents
Lack of support from the software vendor
Loss of application software change history
Application software hacked leading to unauthorised transactions
Loss of training and administration manuals….
DRP Approach: Step 1 – Risk Assessment
Slide 16

## Slide 17: Illustrative Risks surrounding Business Data/Database systems
Database server crash leading to loss of data
Unable to recover data from data backup tapes
Unauthorised access/changes to the business data/database systems
Theft of data/Data falling into wrong hands
Loss of database design documents…
DRP Approach: Step 1 – Risk Assessment
Slide 17

## Slide 18: Illustrative Risks surrounding Network, Computing and Security Infrastructure
  Devise failures (Router, switch, firewall, IPS, Modem..…)
  Module failure…
  Server failure (Disk, RAM, power unit..)
  Network circuits failure
  Cabling failure (LAN and WAN)
  Hacking and penetration into the network
  Denial of Service (DoS) attacks…
Internet
Layer 2 Switch
Internal firewall
Core Switch
IDS / IPS
External firewall
Computing Infrastructure
DRP Approach: Step 1 – Risk Assessment
Router
Single point of failure
Slide 18

## Slide 19: Illustrative Risks surrounding Facilities and support infrastructure
  Discontinued power supply
  Failure in UPS/battery backup
  Generator not working in the need of the hour
  Cooling systems (AC) failure
  Floods and Earth quakes
  Breach in Access control systems
  Fire extinguishers not working…..
DRP Approach: Step 1 – Risk Assessment
Slide 19

## Slide 20: Illustrative Risks surrounding End user environment
DRP Approach: Step 1 – Risk Assessment
  PC/Disk failure
  Theft of PCs/Laptops/Data
  Virus attacks
  Installation/usage of unlicensed software
  Printer/Scanner failure…
Slide 20

## Slide 21: Risk Assessment – A continuous process
Threat
Vulnerability
Assessment
Asset Value
Assessment
Risk Assessment
Mitigation Options
Cost Analysis
Benefit Analysis
Decision
(Risk Mgmt)
Vulnerability Reassessment and Risk Reduction
Mitigation
Actions
Threat
Assessment
Vulnerability Assessment
Impact Assessment
Threat /Risk Assessment
Risk Assessment
Mitigation
Activities
Risk Management (Decision)
Vulnerability Reassessment and Risk Reduction
Execution
Slide 21

## Slide 22: Phase II - Business Impact Analysis
  BIA focuses on:
    Identifying the business functions/processes/services
    Impact of the identified risks surrounding Information Systems on the business (functions/processes/services),
    Defining Recovery Time and Recovery Point Objectives
  Provide basis for determining cost effective strategies for risk mitigation
Slide 22

## Slide 23
Phase II BIA - Objectives
Determine critical and necessary business functions/ processes and the resource dependencies
Identify critical computer applications and the associated “outage tolerance”
Evaluation of impact of identified risks on the business functions/processes
Estimate the financial and operational impact of the disruption and the required recovery time frame for the critical business functions
Provide basis for determining cost effective strategies
Build business case for strategy selection
Prepare solid foundation for plan development
Slide 23

## Slide 24
Phase II BIA – Focus areas
    Describe functions
    Suggest importance
    Describe resources
        System applications
        Business Dependencies
    Processing time frames
    Describe contributions
    Estimate impacts due to identified risks
    Describe recovery time frame priorities
Slide 24

## Slide 25: Understanding RTO & RPO
The Recovery Time Objective (RTO) for an application is the goal for how quickly you need to have that application’s information back available after downtime has occurred.
The Recovery Point Objective (RPO) for an application describes the point in time to which data must be restored to successfully resume processing (often thought of as time between last backup and when an “event” occurred)
RPO
RTO
Time
Service
100%
Back up taken
Scheduled
Back up
Disaster
Strikes
DRP
invoked
Normalcy
restored
Slide 25

## Slide 26: Understanding RTO & RPO
Minutes
Hours
Days
Weeks
Minutes
Hours
Days
Weeks
Recovery Point Objectives
How much data I can afford to loose
Recovery Time Objective
How long can I afford to be without IT Systems
Slide 26

## Slide 27
Phase - III: Strategy Selection
Objective
Define the action items needed to best protect the organisation and to select the most appropriate recovery solutions for IT systems supporting critical business functions.
Key Activities
  Identification of range of solutions/strategies for the identified risks
  Cost Benefit analysis of identified solutions/strategies based on defined RTO and RPO
  Strategy selection
Slide 27

## Slide 28: Phase III Strategy Selection – Range of Strategies for Risk Mitigation
We will discuss illustrative strategies available for the following components:
    Application Software
    Data Recovery and Protection
    IT Infrastructure – Networks , Computing and Storage infrastructure etc.
    Facilities
    End user environment..
Slide 28

## Slide 29
Range of illustrative strategies for Application Software
Implement Software Configuration Management tools for version control and source code management
Backup of application software and source code
Backup of application design and configuration documents
Backup of application training, administration manuals
Updation of application design, configuration, training and administration manuals inline with changes in the software
Maintenance of Software Change History
Planning for effective transition management during vendor switch over…
Phase III Strategy Selection – Range of Strategies for Risk Mitigation
Slide 29

## Slide 30
Range of illustrative strategies for Data and Database systems
Maintain multiple levels of data backup (disk mirroring in server/SAN and backup tapes through tape library)
Off-site storage of data backup tapes/media
Data replication at DR site
Database server configuration and image backup
Maintain backup of Database design documents…
Phase III Strategy Selection – Range of Strategies for Risk Mitigation
Slide 30

## Slide 31
Range of illustrative strategies for Network and Security components:
Redundancy at each of the critical network component level (Core router, switch, internet router..)
Redundancy at network circuit level (network circuits from alternate ISPs)
  Redundancy at each of the critical security component level (firewall, IPS, VPN concentrator..)
  Maintaining spares for the critical infrastructure elements
  Maintain backup of the design, configuration and IP addressing schema files, system images
  Signing SLA with the System Integrators/OEMs for replacement of components inline with RTO/RPO
  Penetrating testing and vulnerability assessment at regular intervals to identify and bridge the information security gaps
  Implementation of network and security monitoring and management tools
  Insurance for the Infrastructure
Phase III Strategy Selection – Range of Strategies for Risk Mitigation
Slide 31

## Slide 32
Phase III Strategy Selection – Range of Strategies for Risk Mitigation
Range of illustrative strategies for Computing Infrastructure
Redundancy at the server level
  Maintaining spares for the critical servers and its components
  Maintain backup of the design, configuration and IP addressing schema files, system images
  Implementation of computing infrastructure at alternate site as backup (DR)
  Signing SLA with the System Integrators/OEMs for replacement of components inline with RTO/RPO
  Penetrating testing and vulnerability assessment at regular intervals to identify and bridge the information security gaps
  Implementation of server monitoring and management tools
  Insurance for the Infrastructure
Slide 32

## Slide 33
Phase III Strategy Selection – Range of Strategies for Risk Mitigation
Physical and environmental aspects of IT systems
Implementation of Disaster Recovery (DR) site
Power: Redundancy in UPS, power supply from alternate sources/feeds, adequate battery backup, generator set, power supply to the IT equipment through alternate UPS systems
Cooling: Redundancy in air-conditioning systems
Security: Video surveillance, Key-card entry controls, Biometric entry controls, Security guards, Hardened facilities, Locking cabinets, Equipment cages
Environmental controls: Smoke and fire detection, Fire alarms and evacuation, Fire suppression, Fire extinguishers, Sprinkler systems, water detectors
  Insurance for the facilities..
Slide 33

## Slide 34
Cold Site
    Have basic environment (power, electric wiring, AC , flooring etc. )
    Ready to receive equipments but do not offer any components at the site in advance
    Activation of the site may take several weeks
  Warm Sites
    Partially configured with network connections & selected peripherals equipments such as disk drives , tape drives and controllers but without the main computing infrastructure
    Sometimes equipped with a less powerful central processing unit
Phase III Strategy Selection – Range of Strategies for Risk Mitigation
Slide 34

## Slide 35
Hot site
    Fully configured and ready to be operated in some hours
    Generally intended for emergency operations of a limited time period and not for long extended use
    Components of the DR plan for network connectivity to a hot site over a public switched network should address issuers as redundancy and maintaining sufficient capacity on diverse paths to re-routed path
Reciprocal arrangements
    Arrangement between two or more organizations that possesses similar facilities
Phase III Strategy Selection – Range of Strategies for Risk Mitigation
Slide 35

## Slide 36: User (workstation) Environment - Range of Strategies
To the greatest extent reasonably possible, use standard configurations for client/server workstations.
Use imaging technology and tools that can help you quickly build replacement client/server workstations.
    Test images in a variety of workstation types: In a disaster scenario, you may have to build workstations on hardware platforms that you don’t routinely work with.
Consider a thin-client environment, with client/server software installed on servers, reducing workstations to smart terminals.
    Thin-client technology enables the organization to centralize client-side software installation, configuration, and maintenance.
Back up workstation imaging systems.
    If you can recover those imaging systems in a disaster, you can use them to build new client/server workstations, as needed.
Slide 36

## Slide 37
Range of illustrative strategies for End User Environment
Maintaining end user system images
Provision for central data backup facilities for end users – for critical data
Mail server backup
Maintaining spares for PCs, Printers and other end user computing infrastructure based on failure rates/scenarios
  Signing SLA with the System Integrators/OEMs for replacement of components inline with RTO/RPO
Phase III Strategy Selection – Range of Strategies for Risk Mitigation
Slide 37

## Slide 38: Cost vs Benefit Analysis of the Strategies - Example
Standard
Recovery
Vaulting
Mirroring
Load balancing
Disaster Recovery Times
Cost
Source : Gartner
72hrs
24 hrs
Minutes
Phase III Strategy Selection –
Slide 38

## Slide 39
Strategy Selection - Decision
Alternatives are heavily dependent upon the identified recovery time objectives
The faster a function is required the more expensive the solution will typically be
Interdependencies need to be covered during the selection process
Select the most appropriate recovery strategy
Phase III Strategy Selection –
Slide 39

## Slide 40
Phase IV: Plan Development
DR Plan contains an integrated set of procedures and resource information that is used to recover from an event that has caused a disruption to business operations
It answers questions on responding to a disaster in terms of:
  Who
  What
  When
  Where
  Why
  How
Plans Contain
  Each failure scenario has one or more approved alternatives
  Preparation Plan
    Advance steps to prepare for the implementation of the alternatives
    Not all alternatives require preparation
  Execution Plan
    The steps to follow if a failure/disaster occurs
    Includes identification of internal and external dependent groups
Slide 40

## Slide 41
Phase IV: Plan Development
DISASTER RECOVERY PLANNING OVERVIEW
OBJECTIVE OF THE DRP
ASSUMPTIONS
CLASSIFICATION OF A DRP EVENT
SITE DETAILS
DRP EVENT HANDLING STRATEGY
DRP RECOVERY ORGANISATION
FIRST CONTACT AND EVENT REPORTING
DECLARATION OF DRP EVENT
MEDIA MANAGEMENT PLAN
EVACUATION PROCEDURES
CRISIS MANAGEMENT TEAM
ROLES & RESPONSIBILITIES OF CMT
CMT RECOVERY ACTIONS
FACILITIES RECOVERY TEAM (FRT)
CLASSIFICATIONS OF DRP EVENTS (L1, L2, L3..)
DRP ADMINISTRATION
PLAN ADMINISTRATION & TESTING
PLAN MAINTENANCE
PLAN DISTRIBUTION
COMPLIANCE AUDIT
Slide 41

## Slide 42
Phase IV: Plan Development
EMERGENCY CONTACT NUMBERS
DETAILED DAMAGE ASSESSMENT AND SALVAGE CONTROL SHEET
PROPERTY REMOVAL FORM
LIST OF IT VENDORS & SERVICE PROVIDERS
LIST OF ADMINSTRATION VENDORS
IT HARDWARE INVENTORY
INSURANCE DETAILS
NETWORK DIAGRAM
DRP MAINTENANCE CHECKLIST
DRP CHANGE REQUEST FORM
Slide 42

## Slide 43
Failure Scenario | 
Possible Causes | 
Enablers impacted | Processes Impacted | Departments/Functions impacted
Action Steps | Dept Responsible | Individual Responsible
Pre-Events (prevention measures)
Action Steps | Triggers | Responsibility
Detection and Escalation
Action Steps | Dept Responsible | Individual Responsible
Emergency
Action Steps | Dept Responsible | Individual Responsible
Recovery
Phase IV: Plan Development – Details for failure Scenario
Slide 43

## Slide 44
Phase V: Testing and Maintenance
Objectives:
Establish testing and maintenance procedures and timetable
Testing the plan and procedures
Finalise and maintain DRP
Benefits:
Determine if documented recovery strategies & associated recovery procedures are viable to recover critical business functions within their stated recovery time objectives
Validates planning assumptions
Identifies strengths and weaknesses
Provides the opportunity for all parties (IT & other Business Units) to participate together
Slide 44

## Slide 45
Testing - Component Testing
Actual physical exercises designed to assess the readiness and effectiveness of discrete plan elements and recovery activities.
Isolation of key recovery activities allows team members to focus their efforts while limiting testing expense and resources.
Effective for identifying and resolving issues that may adversely affect the successful completion of a full interruption test.
Slide 45

## Slide 46: Types of Tests
Until you thoroughly test all the recovery procedures, the organization shouldn’t expect those procedures to save it from ruin if a disaster strikes.
Checklist tests
    Preliminary test where the DR plan is reviewed to ensure that it addresses all the procedures and critical areas
Simulation test
    All the operational and support personnel are expected to perform in case of disaster meet for practice session.
    Typically goes to the point of relocating to alternate site but does not perform actual recovery
Parallel test
    Test processes runs parallel to the real processes.
    Goal is to ensure that critical systems will run at the alternate site if required
Full interruption test
    Disaster is replicated to the point of ceasing normal production operations. Absolute way to test whether the DR sites works or not .
Slide 46

## Slide 47: Thank you…..
Slide 47